## global-attributes
Name | Example
Conventions | CF-1.8
source | Ice station met station
instrument_manufacturer | sonic anemometer - Metek, gas analyser - LI-COR, temperature/humidity sensor - Vaisala, infrared thermometers - Heitronics, broadband radiometers - Kipp and Zonen, heat flux plate - Huskeflux , snow thermocouples - custom made.
instrument_model | sonic anemometer - Metek USA-100, gas analyser - LI-COR LI-7500, temperature/humidity sensor - Vaisala HMP110, infrared thermometers - Heitronics KT15.85 IIP, broadband radiometers - Kipp and Zonen CGR4 and CMP22, heat flux plate - Hukseflux HFP01-SC, snow thrmocouples - custom made, standard T-type.
instrument_serial_number | sonic anemometer - 2006 03002/01. gas analyser - 75H-0614. temperature/humidity sensor - V061038 infrared thermometers - (1) 13575 (heated window), (2) 11258 (unheated) broadband radiometers - Upwelling CMP22: 140109, CGR4 140073, Downwelling: CMP22: 140092, CGR4: 140074 heat flux plate - 00884 snow thermistors - N/A
creator_name | Heather Guy
creator_email | heather.guy@ncas.ac.uk
creator_url | https://orcid.org/0000-0003-3525-0766
institution | University of Leeds
processing_software_url | https://github.com/heatherguy/AOM-WP1-BL/tree/main/
processing_software_version | v1
calibration_sensitivity | As per manufacturers specifications
calibration_date | sonic anemometer - field calibration, March 2023. gas analyser - internal chemicals changed prior to expedition, no recent absolute calibration. temperature/humidity sensor - factory calibration 2023 infrared thermometers - factory calibration 2020 broadband radiometers - contact Philip.Rosenberg@ncas.ac.uk heat flux plate - factory calibrated snow thermistors - N/A
sampling_interval | 1 seconds
averaging_interval | 1 minutes
product_version | v1.0
processing_level | 1
last_revised_date
project | ARTofMELT
project_principal_investigator | Ian M. Brooks
project_principal_investigator_email | i.m.brooks@leeds.ac.uk
project_principal_investigator_url | https://orcid.org/0000-0002-5051-1322
licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence
acknowledgement | Acknowledgement of the following grant is required: NERC Standard Grant NE/X000087/1
platform | Ice Station
platform_type | stationary_platform
deployment_mode | sea ice
title | Ice Station surface meteorology and radiation data
featureType | timeSeries
time_coverage_start
time_coverage_end
geospatial_bounds
platform_altitude | 0 m a.s.l
location_keywords | Oden, Arctic Ocean, sea ice
history | The first ice station was installed on 2023-05-16 19:43 on an ice floe at -2.17 E and 79.99 N, approx. 450 m from the Oden. This station was powered down 2023-05-21 18:45. The second ice station was installed on a different ice floe 2023-05-29 14:11 at 5.02 E and 80.48 N, and powered down 2023-06-11 13:55.
comment | (1) The radiometer stand (all hemispheric radiosometers and the KT15-2) was located approximately 40 m away from the met mast (all other instruments). (2) True wind directions are calculated using the heading between the two GPS units on the Met Mast and the radiometer stand. (3) Vector wind averages are calculated before derving the True wind direction in degrees. (4) No tilt correction is applied to the 3D sonic anemometer data. Horizontal wind speed is calculated from all 3D componenets, assuming that the contribution of vertical velocity is negligible. (5) Air pressure in this file is derived from the internal sensor in the Licor control box, no corrections have been applied. (6) The Met mast KT15 (skin_temperature_1) had an window heater activated. The radiometer stand KT15 (skin_temperature_2) did not. (7) The factory calibration is used for the heat-flux plate data. (8) 1-minute averages are labelled for the LHS of the averaging window.