## global-attributes
Name | Example
Conventions | CF-1.8
source | Metek USA-100 sonic anemometer and LI-7500 open path gas analyser
instrument_manufacturer | Sonic - Metek, Gas analyser - LI-COR
instrument_model | Metek USA-100, LI-7500
instrument_serial_number | Metek sonic: 2006 03002/01. Li-COR: 75H-0614.
creator_name | Heather Guy
creator_email | heather.guy@ncas.ac.uk
creator_url | https://orcid.org/0000-0003-3525-0766
institution | University of Leeds
processing_software_url | https://github.com/heatherguy/AOM-WP1-BL/tree/main/
processing_software_version | v1
calibration_sensitivity | As per manufacturers specifications
calibration_date | Metek field calibration, March 2023. LiCOR internal chemicals changed prior to expedition, no recent absolute calibration.
sampling_interval | 20 minutes
averaging_interval | 20 minutes
product_version | v1.0
processing_level | 3
last_revised_date
project | ARTofMELT
project_principal_investigator | Ian M. Brooks
project_principal_investigator_email | i.m.brooks@leeds.ac.uk
project_principal_investigator_url | https://orcid.org/0000-0002-5051-1322
licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence
acknowledgement | Acknowledgement of the following grant is required: NERC Standard Grant NE/X000087/1
platform | Ice Station
platform_type | stationary_platform
deployment_mode | sea ice
title | Flux components and statistical quality checks.
featureType | timeSeries
time_coverage_start
time_coverage_end
geospatial_bounds
platform_altitude | 2 m a.s.l
location_keywords | Oden, Arctic Ocean, sea ice
history | The first ice station was installed on 2023-05-16 19:43 on an ice floe at -2.17 E and 79.99 N, ~ 450 m from the Oden. This station was powered down 2023-05-21 18:45. The second ice station was installed on a different ice floe 2023-05-29 14:11 at 5.02 E and 80.48 N, and powered down 2023-06-11 13:55.
comment | 20 Hz sampling rate on both licor and sonic. Runs 20 mins in length. Run time stamp: start of run.